Plasma-enhanced atomic layer deposition system

(PLASMA-ENHANCED ATOMIC LAYER DEPOSITION)

Note

- Users, including graduate students and collegers, must pass the evaluation test before use.

- When using the system, make sure to fill out the usage log correctly.

- Each application is allowed to commission up to five wafers.

- Before using the system, make sure system status, temperature and pressure are in normal ranges.

- This wafer allows 6”, 8” and broken wafers. For special needs, please check with the system engineer first.

- The reservation will be cancelled if the user does not show up within 15 minutes after the appointed time and persons waiting on-site are granted for use.

Safety statement of lab equipment

- During machine operation, if an earthquake, power outage, toxic gas or fire occurs, all personnel should follow the specified route to evacuate from the lab.

- For emergencies like gas leak, fire or personal injury, please contact Emergency Response Center for assistance (ext. #7761& #7762).

- Check protection and PPE required for this machine, include the emergency shower, self-contained breathing apparatus, fire extinguisher and ointment, and their locations.

- Only users approved for using silicon wafers are allowed to operate the system.

- Experimental conditions should not be out of the original range (including gas flow, process temperature/pressure, etc.)

- Please read suspended process or service bulletined by the responsible engineer carefully. If any violation is discovered (including failure to fill in the usage log and follow SOP or the use of unapproved materials or materials that could damage the machine), please report to the engineer (#7520) or industry safety officer (ext. #7737) immediately.

- If any machine failure occurs, please check previous logs, record the failure in the log and leave a message on the engineer’s phone. The responsible engineer will diagnose the cause and respond as soon as possible.

- Before leaving, please make sure all components, modules, process gas flow and temperature are returned to Standby mode. Please fill out the experiment log in detail.

- Users failing to follow the aforementioned regulations will face consequences based on NDL management regulations.