PEALD Evaluation Checklist

- Note before use

Check forms related to machine usage log	

Check machine status	

- Function introduction

Applicable materials	★

- Specimen pickup and placement

Use of machine robot and loadlock	★

- Machine operation

Opening and closing of the machine’s precursor valve	★

Check the gas in the machine	★

Check the cooling water in the machine	★

Check if the machine software is in the standby or steady state	★

Temperature control and setting in machine software	★

Process parameter setting in machine software	★

- Anomaly handling process

Troubleshooting	★

Filling out forms (such as anomaly handling form)	

Reporting process	

- Operation completed

Fill out instrument usage log accurately after the operation is completed	

- Others

Management of emergency situations	