Electron beam evaporation system specifications

| Machine Name | Electron beam evaporation system |  |
| --- | --- | --- |
| Model | AST Peva 600I |  |
| Location | New facility 3F Class 10K cleanroom |  |
| System specifications |  |  |
| E-GUN | Type | DC |
|  | Max. power | 10K W (EGL-35) |
|  | Purity of evaporation materials | Vary by materials (around 3N5~5N) |
| Vacuum capabilities | Rough vacuum system | Mechanical pump (EDWARD GV80) |
|  | Fine vacuum system | Cryopump (Cryo torr 10) |
|  | Max. vacuum capabilities | Compressor (CTI 9600) |
|  |  | ~3E-7 torr |
|  |  | The chamber pressure maintains at 3E-6torr during sputtering |
| Gases used in process | N2 | 0 ~ 50 sccm |