Special note on Electron beam evaporation system

- During machine operation, if an earthquake, power outage, toxic gas or fire occurs, all personnel should follow the specified route to evacuate from the lab.

- For emergencies like gas leak, fire or personal injury, please contact Emergency Response Center for assistance (ext. #7761& #7762).

- Please discuss with the engineer when it is necessary to use a broken wafer.

- Experimental conditions should not be out of the original range (deposition rate, electron beam power, etc.)

- Please read suspended process or service bulletined by the responsible engineer carefully. If any violation is discovered (including failure to fill in the usage log and follow SOP and the use of unapproved materials or materials that could damage the machine), please report to the engineer (ext. #7537) or industry safety officer (ext. #7762) immediately.

- When any machine failure occurs, please check the previous log, record the failure in the log and notify the responsible engineer. The engineer will diagnose the cause and respond as soon as possible.

- Please make a reservation according to the regulations. No reservation in advance, no-show reservation.

- Please keep the environment around the machine clean and follow the regulations. Remember, this is a lab for everyone.