Notes on the Use of 8-inch Chemical Wet Etching Station

- This equipment is only available for 8-inch wafer cleaning and photoresist removal in the front-end process of semiconductors. For 8-inch wafer cleaning and wet etching in the back-end the process, please go to the TSRI’s back-end chemical wet etching workstation.

- This equipment accepts requested services. Users who intend to operate this equipment by themselves are required to pass the training and test for it.

- For this equipment, we only provide the chemicals supplied by the plant’s central chemical supplies system. They are: sulfuric acid (H2SO4 96%), hydrochloric acid (HCl 31%), ammonia (NH4OH 29%), hydrogen peroxide (N2O2 36%), hydrofluoric acid (HF 49%). No other chemicals are provided.

- The vacuum pen, cassette, and wafer spin dryer in each respective cleaning and photoresist station must not be shared due to different cleanliness levels.

- The materials safety data sheet (MSDS) of the chemicals used in this station is available at the equipment-end. The relevant information on each chemical can be obtained from there. Please contact the engineer responsible for the equipment should there be any concern about the chemicals used.

- There is litmus paper inside the storage box underneath the stainless-steel workbench to be used to test unknown liquids on the tabletop. Please refer to the outer package of the paper for verification methods.

- In the event of chemical hazards during operation, please use first-aid medicines and facilities, which are located inside the emergency shower in the maintenance aisle in front of the SPM#2 tank. The same first-aid medicines and facilities are available behind the Class 10 Ion Implantation Machine (E500) and in the chemical lab on the 4th floor; medicines are also available in larger quantities in the medical center on the 2nd floor.

- Use instructions of first-aid facilities are as follows: (relevant usage labels are placed on the equipment)

Body shower and eye washer:

Remove the cleanroom garment and relevant accessories in the water; pull downward with force and water will come out from the ring-shaped showerhead. Lean the face into the attached basin, and the faucet will provide water to rinse the eyes; a water gun is attached for use for injuries to smaller surfaces.

- The location, classification, and use methods of first-aid medicines are as follows:

- First-aid medicines are located inside the emergency shower behind this equipment.

- First-aid medicine classification:

- Hexafluorine: For first-aid use when coming into contact with chemicals containing fluoric acid (i.e.: solutions such as HF, B.O.E. 7:1)

- Diphoterine: For first-aid use when coming into contact with general acids and alkalis (i.e.: solutions such as H2SO4, HCl, NH4OH)

- Calcium gluconate ointment: For first-aid use on body parts when coming into contact with chemicals containing fluoric acid. DO NOT apply to the eyes as it can lead to blindness as a result of calcification of eyes.

- First-aid medicine use method:

- Diphoterine drip-bottle packaging:

The best time for use is within 1 minute of coming into contact with the chemical. No need to pre-rinse with water; after removing the accessories, twist-open the lid directly and cover the injured area with the inverted bottle to acts as an eye-wash cup, so that the medicine can flow to the injured area. When the bottle is finished, rinse the injured area with saline water.

- Diphoterine spray bottle packaging:

The best time for use is within 1 minute of coming into contact with the chemical. No need to pre-rinse with water; after removing the accessories, open the lid and squeeze directly towards the injured area. When the bottle is finished, rinse the injured area with saline water.

- Hexafluorine drip-bottle packaging:

The best time for use is within 1 minute of coming into contact with the chemical. No need to pre-rinse with water; after removing the accessories, twist-open the lid directly and cover the injured area with the inverted bottle to acts as an eye-wash cup, so that the medicine can flow to the injured area. When the bottle is finished, rinse the injured area with saline water.

- Calcium gluconate ointment

Rinse the injured area with water for 30 minutes, and then apply the calcium gluconate ointment. At the same time, massage the area for 15 minutes. Seek medical attention immediately if conditions are not improved.

- In the event of an emergency, press the emergency button (EMO) on the control panel of the machine immediately; the power to the machine will be cut off immediately. Please notify the equipment engineer when the machine is experiencing problems.