Deep-Si ICP Etcher 
Technical Information
· Process Baseline Check 

Chamber Temp : 150~175℃
Elect Temp : -10~10℃
He clamp : 3500 mTorr

Process :TMD(Time Division Multiplex) Deep Si Etch process
· SPEC

All the process baseline have to measure with pattern wafers

Wafer structure: I-line mask or Oxide HM / Si substrate

*Poly-Si(undoped): E/R＞6um/min,  Unif.＜15％
*Single-Si/PR selectivity＞50

*SEM poly-Si line: angle＞88°
· Bosch  Process
[image: image1.emf][image: image2.emf]
Figure 1                             Figure 2
Oerlikon Versaline ICP Reactor is based on a cylindrical inductive coil configuration and inducing a strong magnetic field to generate a high density plasma source like Fig. 1 and Fig. 2.
[image: image3.emf]
The DSE Technology is based on the well-known time division multiplex (TDM) etch process. The TDM process employs alternating deposition (passivation) and etching as in Fig.3 (A~D). This process can be developed to achieve extremely high aspect ratio features on silicon substrates and TSV(Through-Si-Vis) technology.
