# 8” fully automated surface profiler

# Product introduction

P-17, the 8th generation surface profiler, is built on over 40 years of surface metrology experiences. This industry-leading system supports 2D/3D measurements on step height, roughness, bow and stress for scans up to 200mm without stitching.

Excellent measurement stability is achieved with the combination of an UltraLite®sensor, constant force control and ultra-flat scanning stage. Recipe setup is fast and easy with point-and-click stage controls, top and side view optics and a high-resolution camera. P-17 supports 2D or 3D measurement, with a variety of filtering, leveling and analysis algorithm to quantify the surface topography. Features like pattern recognition, sequencing and feature detection enable fully automated measurement.

# Key features

- Step height: nanometers to 1000μm

- Low force with constant force control: 0.03 to 50mg

- Scan full diameter of the sample without stitching

- Video: 500MP high-resolution color camera

- Arc correction: Removes errors resulting from the arc motion of the stylus

- Software: User-friendly interface

- Production capability: Fully automated achieved with sequencing, pattern recognition and SECS/GEM

# Main applications

- Step height: 2D and 3D step height

- Texture: 2D and 3D roughness and waviness

- Form: 2D and 3D bow and shape

- Stress: 2D and 3D thin film stress

- Defect review: 2D and 3D defect surface topography

# Industrial applications

- Universities, research labs and institutes

- Semiconductors and compound semiconductors

- LED

- Solar energy

- MEMS

- Data storage

- Automotive

- Medical devices

Step height

P-17 is capable of measuring 2D and 3D step heights from nanometers to 1000μm. This enables quantification of materials deposited or removed during etching, sputter, SIMS, deposition, spin coating, CMP and other processes. P-17’s constant force control can dynamically adjust to apply the same low force, regardless of step height. This ensures good measurement stability and enables accurate measurement of soft materials such as photoresist.

Texture: Roughness and waviness

P-17 measures 2D and 3D texture and quantifies the sample’s roughness and waviness. Software filters separate the measurement into roughness and waviness components and calculate parameters like RMS roughness.

Form: Bow and shape

P-17 can measure the 2D shape or bow of a surface. This includes measurement of wafer bow resulting from mismatch between layers, such as deposition of multiple layers when producing semiconductor or compound semiconductor devices. P-17 can also quantify the height and radius or curvature of structures, like a lens.

Stress: 2D and 3D thin film stress

P-17 can measure stress induced during the production of semiconductor or compound semiconductor devices with multiple process layers. The bow of the surface can be accurately measured by using a stress chuck to support the sample in a neutral position. The change of shape from a process, such as film deposition, is then used to calculate the stress by applying the Stoney equation. 2D stress is measured with a single scan across the sample diameter up to 200mm without the need to stitch. 3D stress is measured using a combination of 2D scans, with the θ stage rotating between scans to measure the whole sample surface.