8” fully automated surface profiler

- For the 131, 327, and 1000 um sensors, the biggest scan range of the three available, allows three profile options (up/down, up, or down). The Mo higher resolution scan options only allow the up/down profile

Profile Type' Available choices for each range and the resultant scan traces