8” fully automated surface profiler

- Note before use

Check forms related to machine usage log	

Check machine status	

- Function introduction

Machine function and applicable scope	★

Relative position displayed on OM screen	★

- Specimen pick-and-place

Wafer pick-and-place	★

Lower and lift the stylus	★

- Machine operation

Find and confirm sample position	★

Parameter introduction and settings	★

Data sorting and level adjustment	★

- Anomaly toubleshooting process

Reporting process	

- Operation completed

Fill out instrument usage log accurately after the operation is completed	

- Other

Emergency response	