Focused Electron Beam System - Technical Data

Sample chamber loading time ≤5mins

- Gas deposition power - Iso Line

- Gas deposition power - Iso Line

- Gas deposition power - Dense Line

- Gas deposition power - Dense Line

- Automatic cutting TEM thickness and accuracy

Thickness < 100 nm

Accuracy < 30 nm

- Automatic cutting TEM thickness and accuracy

Thickness < 100 nm

Accuracy < 30 nm