Focused Electron Beam System

Evaluation Checklist

- Instrument Introduction

Introducing the principles, functions and restrictions of use of the equipment

Checking the condition of the machine

- Specimen pickup/placement

Sample pickup/placement

Stage pickup/placement

- Process Operations

Search for the specimen and cutting point

Setting and adjustment of the eucentric height

Cross-section cutting process and deposition of the platinum protective layer

Image capture and saving

- Machine shutdown procedures

Procedures for and confirmation of the completion of use

- Filling Out Forms

Filling out the Equipment Use Log Sheet

- Management of Irregular Situations

Reading of alarm signals, and change of the notice sign for machine status

Reporting procedures