Variable Shaped Electron Beam Aligner System Introduction

System Functions

|  | The main function of the Variable Shaped Electron Beam Aligner is the exposure of 8-inch wafers, and its main specifications are as follows:. Electron beam shape; VSB. Acceleration voltage; 50 kV. Min. address grid; 1 nm. Current density; 15 A/cm2. Substrate size; 200 mm wafer. Min. feature size; < 50 nm. |
| --- | --- |

Nano Electronics Building

Clean Room 100 (photo room) and the sub fab below it

Photolithography Area 1

Developer storage area

Chemical box

Cooling water vapor

Temperature and humidity control

Temperature control

Photolithography Area 2

Main part of process

Main part of TRACK process

Developer storage area

Temperature and humidity control

Temperature control

Chemical box

Cooling water vapor

Instrument Location

Equipment Overview

Transfer system

Exposure system

Control system

Transfer system-front

Load/Unload port

Emergency Stop Button-EMO

Transfer system-front

Control system-side

Services

- Exposure of 8-inch wafers

- Equipment used:

- L17 Photoresist Coating and Development System

END