CF-L20_Die Grade Pattern Definition Alignment System

Evaluation Checklist

V2019/04/01

- Awareness of Equipment Hazards and Crisis Management [10%]

- Locations of secondary panels for factory facilities (power, GN2, CDA, PV).

- Location and timing of use of EMO.

- Emergency contact number: 7762.

- Pre-operation Checks [10%]

- Status notice sign.

- Status of monitor and machine, status of LED light source, CDA, PV, N2.

- Use log sheet.

- Mask holder, wafer chuck, loading frame.

- Functions of the Mechanism [10%]

- Wafer transfer system: cassette, cassette stage, robot arm, pre-aligner (PA), light tower, magazine.

- Body of exposure system: light source, cover, wafer stage, tray, monitor, control panel.

- Content of the Exposure Program [30%]

- Naming convention: University and Department_Lab Name_Reticle Name_1st Layer/2nd Layer and so on.

- (Ex.: TSRI_litho_mask1_1st or NCTU_Linlab_MOS2_2nd)

- Process, Exposure Mode, Contact Mode, Maskholder, Chuck.

- Separation, Proximity, Thickn. Mask, Thickn. Substrate, Thickn. Resist.

- Dose, Exposure Settings, Handling.

- Misc.

- Contact Force.

- Exposure Operations [30%]

- Bring your own sample/reticle to the test, and complete your operation of the machine in 10 minutes.

- Operation of ADI tools.

- Equipment Return [10%]

- Park tray.

- Use log sheet.