Evaluation Checklist for RAITH VOYAGER Electron Beam Lithography System

- Pre-operation Checks

  - Whether the machine can be operated

  - Checking the cooling system of the machine

  - Checking the surface of Sample Holder

- Procedures for Loading and Unloading Sample Holder

  - Procedures for loading Sample Holder

  - Procedures for unloading Sample Holder

- How to Set Beam Condition and Writer Field

- How to Use Standard Mark (Pillar & Chessy) for Pre-exposure Alignment

  - How to adjust beam focus and stigmator (pillar sample)

  - How to adjust writing field stitching (chessy sample)

  - How to measure beam current

- How to Set Alignment Mark and Burn Spot

  - How to set alignment mark

  - How to align writing field with burn spot

- Set exposure parameters

  - How to set dose factor

  - How to set exposure dose

  - Calculating exposure time and performing exposure

- Others

  - Notes on photoresist

  - Notes on samples

  - Other notes