Laser marker

- Machine introduction

A laser marker marks serial numbers on wafers for easy identification.

Laser Marker ID card

| - Full name: | Laser marker |
| --- | --- |
| - Location: | class 100 |
| - Person-in-charge: | Mr. Chen-Jung Wu |
| - ICE number: | (O) 03-5726100 ext. 7698 (H) 0926765052 |
| - Engineer: | Mr. Chen-Jung Wu |
| - Substitute engineer: | Mr. Chin-Lung Hsieh |
| - ICE number: | (O) 7650 |
| - Chemicals used on machine: |  |

- Bulk gases: CDA

- Specialty gases: No

| - Process mode or reaction chamber: | Nd: YAG laser |
| --- | --- |
| - Reaction chamber vacuum range: | Under normal atmospheric pressure |
| - Substances in exhaust emissions: | No |
| - Separate local scrubber: | No |
| - Reaction chamber temperature range: | 30 ~ 35 °C |
| - Type of cooling system: | Cooling water supplied by facility |
| - Other special hazards: | Powerful laser lights, etc. |
| - Manufacturer/agent: | OMRON Laserfront Taiwan Inc. |
|  | Tel.: 04-2708-6955 Fax: 04-2708-6535 |
| - Agent maintenance engineer: | Ming-Shun Jian Mobile number: 0968917547 |
| - Update date: | 05/20/2013 |