Evaluation Checklist for Metal Four-point Probe

- Introduction to the system

Introduction to the functions of the instrument

| Principles of measurement by the four-point probe | ★ |
| --- | --- |

Conversion of sheet resistance unit and resistivity

- Setting of the parameters for auto measurement

Placement of the specimen

| Setting of the parameters for auto measurement | ★ |
| --- | --- |

Explanation of the definitions of parameters: Meas. Pattern ID

Function

UNI

Wafer shape

Polarity

Meas. mode

Setting of wafer type

Explanation of the measurement results

- Display of the measurement results

Display of the raw data for measurement

Display of the measurement pattern

Saving of the measurement data

- Manual measurement

Parameter settings

Performance of manual measurement

System reset after measurement

- Others

Making sure to fill out the instrument use log sheet after the completion of use of the instrument

Notes on the machine