Evaluation Checklist for Surfscan Surface Contamination Analyzer (CF-M24)

- How to place the specimen into the cassette?

| Where is the operation log sheet located? |  |
| --- | --- |
| How to determine the current condition of the machine before using it? |  |
| Where is the designated cassette for the machine? |  |
| How to place chips into the designated cassette? |  |

- How to place the cassette into the machine?

| How to place the cassette into the stage? | ★ |
| --- | --- |
| Where is the measurement stage for 6- and 8-inch chips? |  |

- What are the applicable chip sizes for this machine?

| What are the applicable chip sizes for this machine? | ★ |
| --- | --- |

- The analysis program for 6-inch chips?

| The analysis program for 8-inch chips? |  |
| --- | --- |
| How to handle cards when transferring chips? |  |

- Reading of the scanning results?

| Determination of acceptance and rejection? |  |
| --- | --- |
| Reading all information displayed on the monitor | ★ |
| How to read the total number of particles? |  |

- How to print?

| The command for printing? |  |
| --- | --- |
| Where is the printer’s switch located? |  |

- How to unload the cassette?

| When can you remove the cassette? |  |
| --- | --- |
| How to register the operation log sheet? |  |
| How to handle irregularities in the machine? |  |