Notes

Please email us at (jmliu@nalabs.org.tw) to make an appointment to test on the M25 ellipsometer.

If you are unable to take the test or need to reschedule it, please contact the test supervisor one day in advance or email us to cancel it.

If you fail to show up for the test without any reason, you will be prohibited from making any appointment for the test for two weeks.

If you have any questions, please contact the engineer responsible for the machine.

Thank you for your cooperation.

Detailed Checklist for Test on Ellipsometer M2000 Film Thickness Gauge (CF-M25)

- How to place the specimen?

| How to determine the current condition of the machine before using it? |  |
| --- | --- |
| Is the measurement specimen placed face up or down? | ★ |
| How to turn on Vacuum? |  |

- What is the default chip thickness?

| Manual sample loading |  |
| --- | --- |
| What is the meaning of the default value of Z-axis? |  |

- How to select a measurement program?

| How to read the details of the measurement program, including incident angle/mapping pattern/model? |  |
| --- | --- |
| Creation of the elements of a program |  |
| The location for saving files after selection of the measurement program and before measurement? |  |

- How to change the chip size on the stage?

| How to select or edit measurement points (single or multiple points) | ★ |
| --- | --- |
| How to open the existing mapping file and change the chip size? |  |

- How to create an analysis of the model structure?

| Selection of an appropriate fitting model | ★ |
| --- | --- |
| The location in the model where the number of layers to be thinned is increased or decreased? |  |
| The location of the database of each layer in the model? |  |
| How to deal with the situation where there is no structure file of this material in the database of the structure of the unknown layer? |  |
| Where to enter the approximate thickness of each layer? |  |
| What is the meaning of “Fit” and “Fixed”? |  |
| After defining the parameters of “Model”, how to execute an analysis? |  |

- How to determine data acceptance?

| How to determine the data? | ★ |
| --- | --- |
| Where to place the log sheet and how to fill out it? |  |
| What forms should be filled out in the event of any irregular condition of the machine? |  |