Note on TXRF usage

- When operating the machine, please wait until the machine correctly measures and analyzes the 1st point before temporarily leaving the machine unattended

- Please fill out the usage log.

- Be aware of radiation hazards

- Users operating the machine without surveillance should attend a 3-hour radiation safety training every year

- After measuring, please return items to its original place.

- During machine operation, if a felt earthquake, power outage, toxic gas or fire occurs, all personnel should follow the specified route to evacuate from the lab.

- For emergencies like gas leak, fire or personal injury, please contact Emergency Response Center for assistance (ext. #7761& #7762).

- Check protection and PPE required for this machine, include the emergency shower, self-contained breathing apparatus, fire extinguisher and ointment, and their locations.

- Only approved users using silicon wafers are allowed to operate the system.

- Experimental conditions should not be out of the original range.

- Please read suspended process or service bulletined by the responsible engineer carefully. If any violation is discovered (including failure to fill in the usage log and follow SOP and the use of unapproved materials or materials that could damage the machine), please report to the engineer (#7661) or industry safety officer (#7739) immediately.

- When any machine failure occurs, please check previous log and record the failure in the log. The responsible engineer will diagnose the cause and respond as soon as possible.

- Please make sure all components and modules are turned off before leaving. Please fill out the experiment log in detail.

- Please keep the environment around the machine clean and follow the regulations. Remember, this is a lab for everyone.

- Users failing to follow the aforementioned regulations will be punished by NDL management regulations.