Medium-current ion implanter

Evaluation Checklist

- Pre-operational check

Check forms related to machine usage log	★

- System introduction

System introduction (principles, panel control, three fundamental areas of the machine, main parameters and effects, etc.)	★

Introduction of main mechanisms in the three fundamental areas:

Source operation	★

Mechanisms in Beam Line and brief introduction of its operation (Analyzer, Faraday Cup, etc.)	★

Introduction of End Station mechanism (Loadlock, Target Chamber, Faraday Cup, Platen, etc.)

- System operation

Login

System Start up (first login every day)	★

Manual machine tuning:

Load & Unload Wafers operation	★

Recipe selection and settings	★

Manual Beam tuning and explanation and commissioning of each parameter:

Parameters of Source part and ARC point plasma (gas, voltage, magnetic field, heating filament, etc.)	★

Extractor voltage (X/Y/Z-axis adjustment)	★

Beam Line tuning (Analyzer, Q1, Q2, Deflector, Acc/Dec, etc.)	★

During the implantation, if all statuses for monitoring fall in reasonable range

After the implantation, product collection and turn off related mechanisms (ARC related, Extract, Acc/Dec module, gases, etc.)	★

Sign Off

- Others

Inter Lock handling during operation