GaN rapid thermal annealing system

Evaluation checklist

- Note before use

Check forms related to machine usage log	

Check machine status	

- Function introduction

Function introduction	

- Machine operation

Check machine gas	★

Place the wafer on the tray	★

Set parameters for each process	★

Machine standby check	

- Anomaly troubleshooting process

Troubleshooting	★

Filling out forms (such as anomaly handling form)	

Reporting process	

- Others

Emergency response	