Horizontal furnace

Evaluation checklist

- Principles of each horizontal furnace

Please visit the NDL website and check the technical information about the Horizontal furnace

Website: http://www.ndl.org.tw/cht/doc/3-1-1-0/T3/T3_B.pdf

Introduction of furnace structure

Explain the reaction gas, reaction temperature and purpose of each furnace

Distinguish AP and LP furnaces

- Operation process/Panel introduction/Troubleshooting

Please visit the NDL website and check the user manual for the Horizontal furnace

Website: http://www.ndl.org.tw/cht/doc/3-1-1-0/T3/T3_E.pdf

Log in	★

Download and run program	★

Explain the real-time data monitoring displayed on the small touch screen

Method and skills of placing wafers (place 25 wafers within 10 minutes)	★

How to fill out the use log

Miscellaneous-Function bar introduction

Miscellaneous-LP furnace program step description

Miscellaneous-LP furnace FAQs and troubleshooting	★

Miscellaneous-AP furnace program step description

Miscellaneous-AP furnace FAQs and troubleshooting	★

Check N2 purge pressure, the reason for pressure increase, related regulations and how to handle high pressure

Capable of inquiring an Event in Analyze and reading the data. (When aborted, capable of inquiring steps of Abort)	★

The handling approach and skills when a real error occurs	★

- Emergency management

Emergency management posted on the machine

Contact the engineer	★

Contact Monitoring Room	★

- Note

Please visit the NDL website and check the Horizontal furnace note

Website: http://www.ndl.org.tw/cht/doc/3-1-1-0/T3/T3_D.pdf

Qualified user and evaluation qualification

Regulations of filling out the use log	★

Time of pick-up and note

Wafer restrictions	★

Note when leaving the room after LPCVD

Restrictions on student time of use