| Document Title: | System SOP (CF-T13 Vertical furnace) |
| --- | --- |
| Document No.: | Q3-NL04 |
| Draft Dept.: | Film etching division |
| Draft Date: | 2019-02-15 |

Document Revision History

| Version | Edited by | Effective date | Approve document No. | Revision/change description | Revised Page |
| --- | --- | --- | --- | --- | --- |
| 1.0 | Chen-Jung Wu | 2019-02-20 | IS108006 | New release | --- |

- Purpose:

Define the operating specifications of Vertical furnace to ensure operation quality.

- Scope:

Applicable to Vertical furnace.

- Rights and Responsibilities:

- Organization responsibilities: The engineer is responsible for the drafting and revision of specifications.

- Qualified operator: Operators passing the Vertical furnace evaluation test.

- Definition of terms:

None.

- Relevant Documents:

Vertical furnace manual.

- SOP:

- Log in MES system.

The user must log in to MES before operating the vertical furnace.

- Login:

  - Click [Login] from the function icons on the top right corner.

  - Enter the password and click [OK].

- Batch execution

- Click [Table] at the bottom of screen and [PCS Operations] on the right

- Click [Open] on the right to display the screen below. Select Recipe name on this screen.

- Click [Management] to display the screen below and select Development.

- Set Recipe content and click [Save] on the right.

- Click [Management] and [Production] and click OK.

- Click [PCS] at the bottom and [Batch Manager] on the right.

- Check the conditions and click [Define].

- Enter Lot identifier and click [OK].

- Follow the aforementioned instructions to load the boat into the system to run the process.

- Log out from the MES system.

- Reference forms and attachments:

- Q4-NL02 Machine management card

- Q4-NL03 Machine evaluation checklist

- Q4-NL04 Machine checklist

- Q4-NL06 Anomaly and Preventive/ correction action list