Introduction of Backend vacuum annealing furnace system

- System Introduction

- System name: Backend vacuum annealing furnace

- Manufacturer: Branchy Technology

- System functions:

This system runs annealing in high temperature and high vacuum, with a temperature up to 600°C and pressure under 10-6 torr. The extremely clean environment efficiently prevents metal oxides generated on metal specimen surfaces due to the reaction with the atmosphere. Additionally, when operating in low pressure, oxygen or nitrogen can be introduced as a shielding gas to prevent the specimen surface from being in contact with air