Backend vacuum annealing furnace system

Skill assessment checklist

- System introduction

Explain the heater	

Explain the gas secondary distribution panel	

Explain the vacuum system	

Explain the cooling water system	

- Operation process & skills

Refer to SOP for details (Standard process of Backend vacuum annealing furnace system)	★

- Note

Max. allowable temperature	

Max. allowable pressure	

Max. allowable gas flow	

Quartz boat storage location	

Specimen restrictions	

System status check (under operation/maintenance, etc.)	

How to fill out the usage log	

How to fill out the anomaly handling form	

When and how to use the insulation gloves	

- Emergency management

Emergency management posted on the machine	★

Contact the engineer	★

Contact Monitoring Room	★

When and how to use EMO	

Restrictions on specimen structures and materials	