Electron beam evaporation system skill assessment checklist

- System introduction

Briefly introduce system functions

Panel function introduction	★

- Check machine status

Is the pump in normal condition?

Is the vacuum status in normal condition?

Are water, gas and power in normal condition?

Check current machine operation status

Is the job of the previous user done?	★

- Machine chamber vacuum break and vacuum

Note before vent

Run vent

Place the specimen	★

Change chip holder

Run vacuum

Note when vacuuming

- Read the pressure meter

Read and explain the rough vacuum pressure meter

Read and explain the fine vacuum pressure meter

Read the process pressure meter and pressure settings

- Deposition parameter settings

Deposition parameter settings	★

Settings of each metal parameter and function explanation	★

Settings of gas flow parameters

- Run deposition

Start evaporation

End evaporation

- Other

Fill out the instrument usage log accurately after the operation is completed

Note when using the machine