
Declaration of Laboratory Safety

1. Whenever emergency occurs during operation, such as earthquake, power cut, toxic gas alarm, fire alarm, etc., all persons must evacuate out of the laboratories immediately through emergency exits.

2. In case of accidents, such as gas leaking, fire, or personal injury, etc., please call Control Center (ext. 7761 & 7762).

3. Please be aware of the protection against toxic gases, fire, corrosive chemicals. Please also pay attention to the location of the first aid for accidents anytime, such as emergency shower, gas mask, fire extinguisher, and ointments.

4. Only qualified user and Si substrate are allowed for this system.

5. Setting the process parameters (gas flow rate, microwave power, and substrate temperature, etc.) out of the range defined by the system manufacturer is forbidden.

6. When the equipment does not work properly, please check the foregoing records and describe the situation in the Working Sheet. The engineer will diagnose the problem as soon as possible.

7. Please keep the environment clean and orderly. It’s our common laboratory.

8. Any user who disobeys the above instructions will be punished the Management Rules of NDL. 
實驗室機台設備安全宣告
1. 操作期間無論發生有感地震、停電、毒氣或火災警報的狀況時，所有的人必須立即循逃生方向撤離實驗室。

2. 遇有氣體外洩、火災燃燒或人員傷害等緊急狀 況時，請通知緊急應變指揮中心協助處理 (分機 7761& 7762)。

3. 確認使用該機台可能需要防護具的使用方法及其所在位置，例如：緊急沖淋器、空氣呼吸器、滅火器、藥膏等。

4. 此系統只允許使用矽基板的核可使用者才能操作。

5. 實驗條件之設定狀 況不 得超過原有之設定範圍(如氣體流量 ，製程溫度 以及電漿瓦數 …等)。

6. 機台設備如果有不能正常工作的狀況時，請先查閱之前紀錄且將發生狀況說明於紀錄簿上，工程師會儘速診斷原因並予以回應。

7. 請保持機台設備附近的環境清潔及秩序。這是大家共同的實驗室。

8. 任何人若不 遵守以上指示將會依國家奈米元件實驗室管理規則懲處。
- page 2 -

