Ultra-high metal and metal oxide nano-level film sputtering system

Skill assessment checklist

- Confirm before using the system

- Current system status check	□

- Explanation on functions of each chamber	□

- Check hardware settings of 8” & 12” wafer process	□

- De-chuck settings	□

- Notch settings	□

- Chamber B Lift pin settings	□

- Software operation	□

- Explanation on process Recipe & Sequence parameters and processes

- Explanation on Recipe parameters and processes	□

- Explanation on Sequence processes	□

- Flow settings	□

- Steps of loading/unloading wafers; loading/taking out FOUP	□

- Load/unload, process lot settings, process activation command

- FI operation	□

- Process Lot settings	□

- Process activation/pause commands	□

- Alarm management

- FI alarm management	□

- Chamber hardware alarm management	□

- Dropped/broken wafer management	□

- When to use Emergency button	□