Taiwan Semiconductor Research Institute 
Thin File Measurement Analyzer（n&k analyzer）
[image: image1.jpg]



	


System specifications and models:

1. Model : n&k analyzer F20

2. Chip size : The area to be tested must be larger than the light source, at least 1cm X 1cm.

3. Test items : suitable for dielectric films such as: single-layer/double-layer SiO2, Si3N4, 
Poly-Si, but not suitable for metal films.
