Taiwan Semiconductor Research Institute
Manual Spin Coater
[image: image1.jpg].
.

w

[T ]




   [image: image2.jpg]



	Spin Coater：
1. Instrument model: Spin coater

2. Speed: 0-3000 RPM.

3. Suction cup size: 0.5, 1, 2, 3, 4, 5 inches in total 6 types.

4. The speed is controlled by the panel, which can be divided into two 
stages of control STEP1 and STEP2.

5. Do not turn off the power arbitrarily during rotation.
Special considerations:

1. Do not accept commissioned OEM services, only open to self-operation.
2. The person in charge of the equipment needs to be contacted for the process of using special materials.




