3D Laser Microscopy

Standard Operation Procedures

3D Laser microscope use specification

- Graduate students or colleagues who want to operate 3D Laser microscopes must pass the assessment.

- Do not shake the desktop when performing measurement analysis to avoid

measurement distortion.

- The measurement surface of the sample will cause insufficient reflection

signal from the laser microscope, and the measurement data will be distorted.

It needs to be supported by other measuring instruments.

- Please keep the desktop clean after measurement, and tidy up and discard

any unnecessary items.

5. If a qualified user lends the usage rights to others, his qualification will be

canceled for two months.