Taiwan Semiconductor Research Institute
SE-029 Rapid Thermal Annealing 
Standard Operation Procedures
1. Use TSRI permit & personal password to log in the MES system and turn on the SE-029 Rapid Thermal Annealing
2. Check N2 gas and cool water circulatory system. 
3. Press [POWER ON] 
4. Enter “user” sheet and unlock the touch panel with password “user”.
5. Click [Open File], select the parameter 
6. Press [Door OPEN], place the sample in the chamber
7. Press [START]
8. Take out the sample, and Press [CLOSE] close the RTA door.
9. Use TSRI permit & personal password to log in the MES system and turn off the SE-029 Rapid Thermal Annealing
[image: image1.emf]
