Taiwan Semiconductor Research Institute
SE-030 RF Sputter 
Standard Operation Procedures
1. Use TSRI permit & personal password to log in the MES system and turn on the SE-030 RF Sputter
2. Check pump, N2 gas and cool water circulatory system. 
3. Vent the Load Lock chamber, place the sample in the chamber, and evacuate the chamber.

4. Press [Transfer], select the working chamber you want to transfer
5. Adjust process parameters.
6. Press [START]
7. Press [Transfer], select working chamber transfer to the Load Lock chamber

8. Vent the Load Lock chamber, take out the sample, and evacuate the Load Lock chamber.
9. Use TSRI permit & personal password to log in the MES system and turn off the SE-030 RF Sputter
[image: image1.emf]
