Taiwan Semiconductor Research Institute
Tainan Service Division
Identity Card of the Wet Bench – RCA Cleaning
· Name:   SE-034 Wet Bench – RCA Cleaning                             

· Located in:   Tainan Clean room 3F                                        
· Applied chemicals: 

(1) Bulk gas：N2(N2 Gun) 
(2) Special gas：None

(3) Chemicals：

a. Organic compounds:   None                                     

b. Acid & Base agents:   H2SO4、HF、NH4OH、HCl                 
c. Oxidants:   H2O2                                                
d. Others:   None                                                  
· Mode of operation chambers: 

(1)   Dipping in the chemical solutions / DI water with fixed time            
· Vacuum range:   Atmosphere                                          
· Vacuum pump:   None                                                  
· Temperature range:   Room temperature ~ 120 °C  (Max.)                                 
· Manufacturer:   Shin Siang Technology Co., Ltd.                              
· Contact info. of manufacturer:   Arthur Peng, Tel：03 – 5510529 
Declaration of Laboratory Safety
1. All persons must follow the evacuation routes to nearby safe area of the labs immediately whenever emergency occurs, including earthquakes, power cut, toxic gas alarm, and fire alarm, …etc.

2. Call Control Center at 6601 in case of any kinds of accidents, such as gas leaking, fire, or injury…etc.

3. Always be aware of the protection from toxic gases and corrosive chemicals, and make sure the location of the first aid which includes emergency shower, gas masks, fire extinguishers and ointments.

4. Setting the process conditions out of range is forbidden.  Process parameters (solution volume, and working temperature…etc.) are already defined by the system manufacturers.
5. Always be notified of the out of function/service announcements at the earliest time.

6. Please check the records and describe the issues/problems in the Working Sheet when finding the equipment malfunctions.
7. Confirm all the components and modules, such as heater, etc. are properly shut down before leaving the lab.

8. Always keep clear records of the experimental procedures and status precisely.

9. Only qualified users are allowed for the system.

10. Please keep the working space clean and in order.

11. Disobeying the instructions is subject to the Management Rules of TSRI.

